Environmental Health and Safety

Laboratory Safety

Self-Audit Checklist

Lab Location:  ____________________  Lab Supervisor:  ________________________

The following is a list of questions compiled from some of the most common laboratory safety programs.  This is not a complete list of all laboratory safety problems.  It has been designed to help you help yourself regarding safety awareness in your laboratory.

| ADMINISTRATIVE | Yes | No | N/A |
| --- | --- | --- | --- |
| Are fire extinguishers easily accessible and visible? Is the area in front of fire extinguishers or electrical panels free of obstructions? | ( | ( | ( |
| Is the fire extinguisher in your lab serviced annually? (the attached tag indicates last date serviced) | ( | ( | ( |
| Are Material Safety Data Sheets (MSDSs), and updated inventory sheets of all hazardous materials, used in the laboratory on file and accessible to all employees? | ( | ( | ( |
| Are eyewashes tested and documented on a weekly basis? | ( | ( | ( |
| Do all lab personnel know the location of the nearest safety shower? | ( | ( | ( |
| Is all food and drink prohibited in the laboratory? | ( | ( | ( |
| 6. Is appropriate personal protective equipment (PPE) and personal protective clothing (PPC) that is required for lab use available and worn as required? | ( | ( | ( |
| Safety Glasses/goggles | ( | ( | ( |
| Gloves | ( | ( | ( |
| Lab Coats | ( | ( | ( |
| Aprons | ( | ( | ( |
| Face shield | ( | ( | ( |
| Are gloves worn at all times when working with blood? | ( | ( | ( |
| If laboratory personnel are exposed to blood, have all received bloodborne pathogen training, and been afforded hepatitis shots? | ( | ( | ( |
| Are all accidents reported to Risk Management on Creighton Form PR-24? | ( | ( | ( |
| Have all lab personnel received initial HAZCOM and annual Lab Safety Training? | ( | ( | ( |
| Is all work involving noxious fumes conducted in fume hoods? | ( | ( | ( |
| Are spill kits/clean-up materials provided? | ( | ( | ( |
| Is all lab personnel trained in spill clean up, use of and location of eyewash/shower, and the availability of MSDSs? | ( | ( | ( |
| Area all lab-top spills properly cleaned and reported to the supervisors? | ( | ( | ( |
| Are sharps and biohazards disposed of in proper containers? (Avoid overfilling of containers) | ( | ( | ( |
| Are exits and aisles within the laboratory free of obstructions in case of emergency? | ( | ( | ( |
| Are minimum quantities of chemicals ordered? (minimal orders eliminate excess waste and reduce cost to the University) | ( | ( | ( |
| Are all chemical containers label-dated at the time of receipt? | ( | ( | ( |
| Are all chemical containers clearly labeled with chemical name, date, type (acid, base, oxidizer, etc.) and degree of hazard? | ( | ( | ( |
| Are chemicals segregated and stored according to hazard classification? (acids, bases, flammables, carcinogens, etc) | ( | ( | ( |
| Are all chemical waste containers clearly labeled to indicate the type of waste, date of waste generation, and specific components? | ( | ( | ( |
| Is all chemical waste removed from the laboratory in a timely manner (stored no longer than 180 days)? | ( | ( | ( |
| Are chemicals in the laboratory stored in an orderly fashion and clearly identified? | ( | ( | ( |
| Are rooms and cabinets containing regulated hazardous substances, such as biohazards, carcinogens, and radioactive materials, posted with warning/caution signs? | ( | ( | ( |
| Is there a list of emergency phone numbers posted inside the laboratory? | ( | ( | ( |
| Maintenance and Security |  |  |  |
| Do laboratory work areas have adequate ventilation and illumination? | ( | ( | ( |
| Is general housekeeping of the lab satisfactory? | ( | ( | ( |
| Have chemical fume hoods been tested within the year? (check sticker) | ( | ( | ( |
| Is airflow indicator present? | ( | ( | ( |
| Is the front sash lowered to the appropriate level when hood is in use? | ( | ( | ( |
| 28. Are compressed gas cylinders properly secured, protected from external heat sources and stored in well-protected, well-vented, dry locations away from highly combustible materials? | ( | ( | ( |
| Are tanks dated (less than 5 years old) and properly labeled? | ( | ( | ( |
| Are incompatible gases stored separately? | ( | ( | ( |
| Are surplus cylinders kept at a minimum and not stored in the lab? | ( | ( | ( |
| Are all belts, pulley drives, and all rotating parts of equipment shielded? (e.g. compressor, vacuum, pumps, and fan blade) | ( | ( | ( |
| 30. Is all electrical equipment grounded (three-prong plugs) or double-insulated? | ( | ( | ( |
| Are 3-prong plugs only used for 3-prong receptacles and never altered to fit into an outlet? | ( | ( | ( |
| 31. Are lab doors locked in the absence of authorized personnel? | ( | ( | ( |

Please list any research assistants or colleagues that are working in this lab location

________________________________________________________________________________________________________________________________________________

Comments:______________________________________________________________________________________________________________________________________________________________________________________________________________

Reviewed by ___________________________            ___________________________

Please print                                                                                     Signature

____________              _________________________

Date of Review                                                Laboratory Room #