GENERAL ELECTRICAL GUIDELINES
Written in Accordance With 29CFR 1910.303
Through 29CFR 1910.335

Index

1.0) Purpose
2.0) Management Responsibility.
3.0) Training
4.0) Introduction
4.1) How Does Electricity Act?
4.2) How Shocks Occur
4.3) Severity of the Shock
4.4) Effects of Electric Current in the Body
4.5) Burns and Other Injuries
4.6) Correcting Electrical Hazards

a) Insulation
b) Guarding
c) Grounding

4.7) Circuit Protection Devices
5.0) Safe Work Practices

a) De-energizing Electrical Equipment
b) Tools
c) Good Judgment (It Pays to Think!!!)

6.0) Special Proceedings for Working on/around Electrical Equipment
7.0) Disciplinary Actions
8.0) Emergency Actions: Always Approach a Downed Person with Caution

9.0)Arc Flash
10.0) Conclusion 
10.1) References

GENERAL ELECTRICAL SAFETY GUIDELINES 
1.0 Purpose:

The following General Electrical guidelines have been established for the protection of Creighton University employees. These guidelines provide a basis of understanding for the workers potential exposure to any electrical hazard. The rules do not supersede or replace Lockout/Tagout Programs, but rather are intended to enhance and to expand same. Employees who are covered by electrical lockout/tagout standards but who are NOT QUALIFIED, "shall be trained in and familiar with any electrically related safety practice not specifically addressed in 29 CFR 1910.331 through 29 CFR 1910.335 but which are necessary for their safety."  The guidelines are intended to be general in nature. Specifics of electrical energy sources are identified under lockout/tagout and are identified under lockout/tagout and on the job requirements.

2.0 Management Responsibility:

It is the responsibility of the Director of Facilities Management and all plant supervisory personnel within Facilities Management to insure that all affected employees in the organization are both trained and knowledgeable. Controlling electrical hazards is an integral part of the job of all Plant supervisory personnel.

Other departments across campus that are involved with electrical devices that are not used as manufactured must coordinate with the Director of Environmental Health & Safety to develop specific training.

3.0 Training:

Training will be provided annually utilizing video materials or lectures relevant to the subject. Training will be approximately one hour in duration, and will be documented. A copy will be maintained by the Department of Environmental Health and Safety.  All new employees will be trained within 30 days of initial employment.  .

4.0 Introduction:

Electricity has become an essential part of modern life both at home and on the job. Some employees work with electricity directly, as is the case with engineers, electricians, or people who do wiring, such as overhead lines, cable harnesses, or circuit assemblies. Others, such as office workers, environmental services and grounds personnel, work with it indirectly. As a source of power, electricity is accepted without much thought to the hazard it presents. Perhaps because it has become such a familiar part of our surroundings, it often is not treated with the respect it deserves.

4.1 How Does Electricity Act?

To handle electricity safely, it is necessary to understand how it acts and how it can be controlled. It is helpful to compare the flow of electricity with the flow of water.

Operating an electric switch may be considered analogous to turning on a water faucet. Behind the faucet or switch there must be a source of water or electricity, with something to transport it, and with pressure to make it flow. In the case of water, the source is a reservoir or pumping station; the transportation is through pipes; and the force to make it flow is pressure, provided by a pump. In electricity, the source is the power generating station; current travels (is transported) through electric conductors in the form of wires; and pressure, measured in volts, is provided by a generator.

Resistance to the flow of electricity is measured in ohms and varies widely. It is determined by three factors: the nature of the substance itself; the length and cross-sectional area (size) of the substance; and the temperature of the substance. Some substances, such as metals, offer very little resistance to the flow of electric current and are called conductors. Other substances, such as bakelite, porcelain, pottery, and dry wood, offer such a high resistance that they can be used to prevent the flow of electric current and are called Insulators.

Dry wood has a high resistance, BUT WHEN SATURATED WITH WATER ITS RESISTANCE DROPS TO THE POINT WHERE IT WILL READILY CONDUCT ELECTRICITY.  The same thing is true of human skin.  When it is dry, skin has a fairly high resistance to electric current; but when it is moist, there is a radical drop in resistance.  Pure water is a poor conductor, but small amounts of impurities, such as salt and/or acid (both of which are contained in perspiration), make it a ready conductor.  When water is present either in the environment or on the skin, anyone working with electricity should exercise even more caution than they normally would.

4.2 How Shocks Occur:

Electricity travels in closed circuits, and its normal route is through a conductor.  Shock occurs when the body becomes a part of the electric circuit. The current must enter the body at one point and leave at another.  Shock normally occurs in one of three ways. The person must come in contact with: both wires of the electric circuit; one wire of the energized circuit and the ground; or a metallic part that has become "hot" by being in contact with an energized wire, while the person is also in contact with the ground.

The metal parts of electric tools and machines may become "hot" if there is a break in the insulation of the tool or machine wiring. The worker using these tools and machines is made less vulnerable to electric shock when a low-resistance path from the metallic case of the tool or the machine to the ground is established. This is done through the use of an equipment grounding conductor, a low resistance wire that causes the unwanted current to pass directly to the ground, thereby greatly reducing the amount of current passing through the body of the person in contact with the tool or machine. If the equipment grounding conductor has been properly installed, it has a low resistance to ground, and the worker is being protected.

4.3 Severity of the Shock:

The severity of the shock received when a person becomes a part of an electric circuit is affected by three primary factors: the amount of current flowing through the body (measured in amperes); the path of the current through the body; and the length of time the body is in the circuit.  Other factors which may affect severity of shock are the frequency of the current, the phase of the heart cycle when shock occurs, and the general health of the person prior to shock.

4.4 Effects of Electric Current in the Body at common voltages:

| Current | Reaction |
| --- | --- |
| 1 Milliampere | Perception level. Just a faint tingle. |
| 5 Milliamperes | Slight shock felt; not painful but disturbing. Average individual can let go. However, strong involuntary reactions to shocks in this range can lead to injuries. |
| 6-25 Milliamperes (women) | Painful shock. Muscular control lost. |
| 9-30 Milliamperes (men) | This is called the freezing current or "let-go" range. |
| 50-150 Milliamperes | Extreme pain, Respiratory arrest, severe muscular contractions. Individual cannot let go. Death is possible. |
| 1,000-4,300 Milliamperes | Ventricular fibrillation. (The rhythmic pumping action of the heart ceases.) Muscular contraction and nerve damage occur. Death is most likely. |
| 10,000 Milliamperes | Cardiac arrest, severe burns and probable death. |

*If the extensor muscles are excited by the shock, the person may be thrown away from the circuit.

The effects from electric shock depend upon the type of circuit, its voltage, resistance, amperage, pathway through the body, and duration of the contact.  Effects can range from a barely perceptible tingle to immediate cardiac arrest.  Although there are no absolute limits or even known values that show the exact injury from any given amperage, the table above shows the general relationship between the degree of injury and the amount of amperage for a 60-cycle hand-to-foot path of one second's duration of shock.

As this table illustrates, a difference of less than 100 milliamperes exists between a current that is barely perceptible and one that can kill.  Muscular contraction caused by stimulation may not allow the victim to free himself/herself from the circuit, and the increased duration of exposure increases the dangers to the shock victim.  For example, a current of 100 milliamperes for 3 seconds is equivalent to a current of 900 milliamperes applied for .03 seconds in causing fibrillation. The so-called low voltages can be extremely dangerous because, all other factors being equal, the degree of injury is proportional to the length of time the body is in the circuit. LOW VOLTAGE DOES NOT IMPLY LOW HAZARD!

4.5 Burns and Other Injuries:

A severe shock can cause considerably more damage to the body than is visible. For example, a person may suffer internal hemorrhages and destruction of tissues, nerves, and muscles.  In addition, shock is often only beginning in a chain of events.  The final injury may well be from a fall, cuts, burns, or broken bones.

The most common shock-related injury is a burn. Burns suffered in electrical accidents may be of three types: electrical burns, arc burns, and thermal contact burns.

1) Electrical burns are the result of the electric current flowing through tissues or bone. Tissue damage is caused by the heat generated by the current flow through the body. Electrical burns are one of the most serious injuries you can receive and should be given immediate attention.

2) Arc or flash burns, on the other hand, are the result of high temperatures near the body and are produced by an electric arc or explosion. They should also be attended to promptly.

3) Finally, thermal contact burns are those normally experienced when skin comes in contact with hot surfaces of overheated electric conductors, conduits, or other energized equipment. Additionally, clothing may be ignited in an electrical accident and a thermal burn will result. All three types of burns may be produced simultaneously.

Electric shock can also cause injuries of an indirect or secondary nature in which involuntary muscle reaction from the electric shock can cause bruises, bone fractures, and even death resulting from collisions or falls. In some cases, injuries caused by electric shock can be a contributory cause of delayed fatalities.

In addition to shock and burn hazards, electricity poses other dangers. For example, when a short circuit occurs, hazards are created from the resulting arcs. If high current is involved, these arcs can cause injury or start a fire. Extremely high-energy arcs can damage equipment, causing fragmented metal to fly in all directions. Even low-energy arcs can cause violent explosions in atmospheres that contain flammable gases, vapors, or combustible dusts.

4.6 Correcting Electrical Hazards:

Electrical accidents are caused by three possible factors-unsafe equipment and/or installation, work places made unsafe by the environment, and unsafe work practices. There are various ways of protecting people from the hazards of electricity. These include: insulation, grounding, mechanical devices, and safe work places.

a) Insulation

One way to safeguard individuals from electrically energized wires and parts is through insulation. An insulator is any material with high resistance to electric current. Insulators, such as glass, mica, rubber, and plastic are put on conductors to prevent shock, fires, and short circuits. When employees prepare to work with electric equipment, it is always imperative for them to check the insulation before making a connection to a power source. Be sure there are no exposed wires. The insulation of flexible cords, such as extension cords, is particularly vulnerable to damage.

The insulation that covers conductors is regulated by Subpart S of 29 CFR Part 1910, "Design Safety Standards for Electrical Systems," as published in the Federal Register on January 16, 1981. This standard revises the former Subpart S and places relevant requirements of the National Electrical Code (NEC) directly into the text of the regulations, making it unnecessary for employers to refer to the NEC to determine their obligations and unnecessary for OSHA to continue incorporating the NEC by reference.

The standard generally requires that circuit conductors, the material through which current flows, be insulated to prevent people from coming into accidental contact with the current. Also, the insulation should be suitable for the voltage and existing conditions, such as temperature, moisture, oil, gasoline, or corrosive fumes. All these factors must be evaluated before the proper choice of insulation can be made.

Conductors and cables are marked by the manufacturer to show the maximum voltage and American Wire Gage size, the type letter of the insulation, and the manufacturer's name or trademark.

Insulation is often color coded. In general, insulated wires used as equipment grounding conductors are either continuous green or green with yellow stripes. The neutral conductors that complete a circuit are generally covered with continuous white or natural gray-colored insulation. The positive voltage conductors, or "hot wires," may be any color other than green, white or gray. They are often colored black or red.

B) Guarding

Live parts of electric equipment operating at 50 volts or more must be guarded against accidental contact. Guarding of live parts may be accomplished by:

-location in a room, vault, or similar enclosure accessible only to qualified persons

-use of permanent, substantial partitions or screens to exclude unqualified persons

-location on a suitable balcony, gallery, or platform elevated and arranged to exclude unqualified persons or

-elevation of 8 feet or more above the floor.

Entrances to rooms and other guarded locations containing exposed live parts must be marked with conspicuous warning signs forbidding unqualified persons to enter.

Indoor electric installations that are over 600 volts and that are open to unqualified persons must be made with metal-enclosed equipment or enclosed in a vault or area controlled by a lock. In addition, equipment must be marked with appropriate warning signs.

c) Grounding

Grounding is another method of protecting employees from electric shock; however, it is normally a secondary protective measure. The term "ground" refers to a conductive body, usually the earth. Used as a noun, the term means a conductive connection, whether intentional or accidental, by which an electric circuit or equipment is connected to the earth or ground plane. By "grounding" a tool or electrical system, a low-resistance path to the earth is intentionally created. When properly done, this path offers sufficiently low resistance and has sufficient current-carrying capacity to prevent the buildup of voltages that may result in a personnel hazard. This does not guarantee that no one will receive a shock, be injured, or be killed. It will, however, substantially reduce the possibility of such accidents-especially when used in combination with other safety measures discussed in this guideline.

There are two kinds of grounds required by "Design Safety Standards for Electrical Systems" (Subpart S). One of these is called the "service or system ground." In this instance, one wire-called "the neutral conductor" or "grounded conductor", is grounded. In an ordinary low voltage circuit, the white (or gray) wire is grounded at the generator or the transformer and again at the service entrance of the building. This type of ground is primarily designed to protect machines, tools, and insulation against damage.

To offer enhanced protection to the workers themselves, an additional ground, called the "equipment ground," must be furnished by providing another path from the tool or machine through which the current can flow to the ground. This additional ground safe-guards the electric equipment operator in the event that a malfunction causes the metal frame of the tool to become accidentally energized. The resulting heavy surge of current will then activate the circuit protection devices and open the circuit.

4.7 Circuit Protection Devices:

Circuit protection devices are designed to automatically shut off the flow of electricity in the event of a ground-fault, overload, or short circuit in the wiring system. Fuses, circuit breakers, and ground-fault circuit interrupters are three well-known examples of such devices.

Fuses and circuit-breakers are over-current devices that are placed in circuits to monitor the amount of current that the circuit will carry. They automatically open or break the circuit when the amount of the current flow becomes excessive and therefore unsafe. Fuses are designed to melt when too much current flows through them. Circuit breakers, on the other hand, are designed to trip open the circuit by electro-mechanical means.

Fuses and circuit breakers are intended primarily for the protection of conductors and equipment. They prevent overheating of wires and components that might otherwise create hazards for operators. They also open the circuit under certain hazardous ground-fault conditions.

The ground-fault circuit interrupter or GFCI is designed to shut off electric power within as little as 1/40 of a second. It works by comparing the amount of current going to an electric device against the amount of current returning from the device along the circuit conductors. The GFCI is used in high-risk areas such as wet locations and construction sites.

5.0 Safe Work Practices:

All Creighton employees and contractors on campus working with electric equipment must use safe work practices. The specifics of electrical safety must be determined on the job site based upon job training and equipment variance. All Facilities Management supervisory personnel are responsible for the job review of work practices. Review of contractor electrical safety work practices is the responsibility of the Director of Operations for Facilities Management. These include: de-energizing electric equipment before inspecting or making repairs, using electric tools that are in good repair, using good work practices when working near energized lines, using appropriate protective equipment, and locking out or tagging out equipment or systems as appropriate.

LOCK OUT AND OR TAG OUT ELECTRICAL EQUIPMENT AS APPROPRIATE

A) De-energizing Electrical Equipment

The accidental or unexpected starting of electrical equipment can cause severe injury or death. Before any inspections or repairs are made-even on the so-called low-voltage circuits- the current should be turned off at the circuit breaker panel and the breaker padlocked or tagged out in the off position. At the same time, the switch or controls of the machine or the other equipment being locked out of service should be securely tagged to show which equipment or circuits are being worked on. (Refer to Creighton University Lockout/Tagout Program).

Maintenance employees, who are performing actual work on equipment, must be qualified in accordance with the lockout/tagout program. No two locks should be alike; each key should fit only one lock, and only one key should be issued to each maintenance employee. If more than one employee is repairing a piece of equipment, each should lock out the switch with his/her own lock and never permit anyone else to remove it. The maintenance worker should at all times be certain that he or she is not exposing other employees to danger.

b) Tools

To maximize his or her own safety, an employee must always use tools that work properly. Tools should be inspected frequently, and those found questionable, removed from service and properly tagged until repaired. Tools and other equipment should be regularly maintained. Inadequate maintenance can cause equipment to deteriorate, resulting in unsafe condition.

c) Safe Work Practices (IT PAYS TO THINK!!!)

Perhaps the single most successful defense against electrical accidents is the continuous use of   safe work practices and common sense. All employees should be thoroughly familiar with the safety procedures for their particular jobs. When work is performed around energized lines, for example, some basic procedures are:

1) Have the line de-energized.

2) Ensure that the line remains de-energized by using some type of lock-out and/or tagging procedure.

3) Use insulated protective equipment.

4) Keep a safe distance from energized lines.

d) Protective Equipment

Creighton Employees whose occupations require them to work constantly and directly with electricity must use the personal protective equipment required for the jobs they perform. This equipment may consist of rubber insulating gloves, hoods, sleeves, matting, blankets, line hose, and industrial protective helmets.

6.0 Special Proceedings for Working on/around Electrical Equipment: (See)

7.0 DISCIPLINARY ACTIONS:

Any Creighton Employee who knowingly violates procedures or guidelines described in this publication will be subject to disciplinary action. Disciplinary actions will be accomplished by appropriate supervisory personnel as required, and in all cases will be documented. Disciplinary actions, based upon the gravity of the circumstances may be oral or written, and depending on frequency or severity could result in termination of the employee from the university. Suggested supervisory actions are listed in Lockout/Tagout policy.

8.0 Emergency Actions: Always Approach a Downed Person with Caution (Think!):

In the event of an accident involving electricity, if the individual is down or unconscious, or not breathing: Notify Public Safety, Ext. 2911. If an individual must be physically removed from an electrical source, be sure to use a nonconductive item such as a dry board. It is always best to eliminate the power source, but time, or circumstance may not allow this option. Failure to think and react properly could make you an additional victim. If the individual is not breathing and you have been trained in CPR: Have someone call Public Safety and you begin CPR IMMEDIATELY!

9.0) ELECTRICAL ARC FLASH PROTECTION

Standard Operating Procedure

It is the goal of the Creighton University to control the arc flash hazard, which occurs during the maintenance of electrical building components throughout campus. Standard operating procedures will eliminate or control arc flash events to reduce the hazard to employees.

To reduce the potential for arc flash occurrences, the following standard operating procedures will be applied:

1.) De-energize all circuits before performing any maintenance on them.

2.) Ensure that all possible sources of supply are found and open disconnecting devices for each source.

3.) Apply Lockout / Tagout devices in accordance with the Lockout / Tagout procedures.

4.) Test voltage on each conductor to verify that it is de-energized.

5.) Apply grounding devices where stored energy or induced voltage could exist or where de-energized conductors could contact live parts.

If it is necessary to work on energized equipment; the following procedures will be applied:

a.) Establish boundaries keeping those not involved with the work ten feet away.

b.) Use insulated tools.

c.) Consider using insulated floor mats.

d.) Wear safety glasses.

e.) Wear voltage rated gloves.

f.) Wear hard-soled leather work shoes or dielectric overshoes.

g.) Wear appropriate arc flash protection.

1. Voltages 50-120- standard cotton work shirt and cotton pants.

2. Voltages 120-600 category 2 arc flash coat over standard uniform, low voltage gloves, hardhat with arc flash shield and earplugs.

3. Voltages above 600 volts must be done by a licensed contractor.  Creighton University personnel are not allowed to do this work.

10.0) Conclusion:

The control of electrical hazards is an important part of Creighton University safety and health program. The responsibility for this program should be delegated by Plant Management to supervisors who have a complete knowledge of electricity, electrical work practices, and the appropriate OSHA standards for installation and performance.

Everyone has the right to work in a safe environment. Through cooperative efforts, Creighton University employees and the employees of outside contractors working on campus can learn to identify and eliminate or control electrical hazards.

References:

1) OSHA Pamphlet 3075

2) 29 CFR 1910.303 through 29 CFR 1910.335.

GENERAL ELECTRICAL SAFETY GUIDELINES 
Reviewed by: 
John Baxter 
Director, Environmental Health & Safety 
6/2010