PORTABLE LADDER SAFETY IN ACCORDANCE WITH 29 CFR 1910.25/.27

INDEX

Purpose

1. Introduction

1.1 Incidence of Occupationally - Related Deaths
1.2 Causes of Occupationally - Related Deaths

2. References

3. Work Practice

3.1.1 Selection for the Job
3.1.2 Ladder Safety Training

The height the ladder must reach
The Weight Capacity (or working load) Needed

3.2 Inspection

4. Precautions

5. Climbing (General Precautions)

6. Other - Common Sense Ladder Safety Limits

7. Repairs

8. Coating

9. Storage of Ladders

10. Transportation

11. Hazards

12. Conclusion

Appendix A. Portable Ladders Safety Checklist

PURPOSE:

The purpose of these procedures are to provide guidance and to promote the safe use of portable ladders for Physical Plant and Telephone Services employees on the Creighton Campus.

Goal

The goal of these procedures is to provide adequate knowledge and training to minimize or eliminate ladder accidents.

1. INTRODUCTION:

1.1 Incidence of Occupationally - Related Deaths:

Excluding motor vehicle accidents, falls are the number one cause of occupational related deaths. The Occupational Safety and Health Administration (OSHA) estimates that 18,757 injuries and 24 fatalities per year are caused by falls from ladders annually. Bureau of Labor Statistics (BLS) studies indicate that falls account for more than 15 percent of all worker compensation cases.

1.2 Causes of Occupationally - Related Deaths: Ladder mishaps result from several unsafe acts and conditions:

-Ladders placed on unstable surfaces.

-Workers on ladders reaching too far beyond the sides of the ladder. (Beyond the center of the body)

-Personnel standing too high on the ladder in order to maintain balance.

-Defective or broken ladders (e.g., broken rails, rungs, missing hardware).

-Ladders that were not secured or braced. (Particularly extrusion ladders.)

-Personnel hand carrying loads while ascending or descending.

-Selecting the wrong ladder for the job.

-Improper positioning of the ladder.

- Strong winds or rain.

-Eighty percent of ladder fall victims fell or slipped and nearly half of these fell at least 8 feet.

- Fifty-seven percent of fall victims were holding object(s) with one or both hands.

-Sixty-six percent of fall victims were not trained in how to inspect ladders.

-Seventy-three percent of fall victims were not provided written instructions on the safe use of ladders.

-Thirty percent of fall victims had wet, greasy or oily shoes.

2. REFERENCES:

Organization Standard Subject OSHA 29 CFR 1910.25-.27 
Portable Ladders OSHA 29 CFR 1926.1053-.1060 
Portable ladders-construction ANSI A14.1 
Portable wood ladders ANSI A14.2 
Portable metal ladders ANSI A14.5 
Portable reinforced plastic ladders ANSI A14.4 
Job-made ladders AFOSH 127-3 Ladders

OSHA = Occupational Safety and Health Administration. 
ANSI = American National Standards Institute. 
AFOSH = Air Force Occupational Safety and Health.

3. WORK PRACTICE:

Portable ladders can be carried or pushed from place to place. Portable ladders can be made from metal (mostly steel or aluminum), wood, fiberglass, or reinforced plastic.

3.1.1 Selection for the Job

If a safer means of access (e.g., scaffolds, work platforms, or fixed ladders with safety devices) is possible, portable ladders should not be used.  In many cases, the task determines the correct ladder required for the job. (For example: Indoor painting usually requires a conventional stepladder, while outdoor painting requires extension ladders. A heavier job may require an "upgraded" ladder, such as a platform ladder.)  Portable ladder types can be subdivided for different jobs. These ladders include:

-single or straight in line sequence ladders, stepladders

- extension ladders. (Not all ladders are suitable for all jobs.) The ladder that just happens to be available may not only be wrong, but also dangerously unsafe for the specific job.

3.1.2 Ladder Safety Training Proper ladder safety training consists of a number of common sense factors which include selection of the proper portable ladder for each job, considering:

- Height of the Ladder
- The Height the Ladder must Reach

Ladders must be long enough to insure that the user does not stand on the top two steps of a stepladder or the top four rungs of a straight ladder. When an extension ladder is used to access a roof, the ladder should extend at least 3 feet above the support point at the eave, gutter, or roof line. Short ladders should never be spliced together to form a longer ladder. Ladders should not be placed on boxes, barrels, or any other unstable bases to gain additional height.

- The Weight Capacity (or working load) Needed.

Ladders are constructed to safely hold a specific amount of weight. These weight limits consist of users, their clothing, tools, and materials. Extra allowance should be made for stress exerted by the worker while performing the job. The heavy-duty ladder is best suited for industrial use because it holds up against frequent and rigorous demands. The weight-capacity classifications for ladders are as follows:

| GRADE | Duty | Rating (1lb)(kg) | USE |
| --- | --- | --- | --- |
| Household | III | 200 (91) | Household |
| Commercial | II | 225 (102) | Tradesman |
| Industrial | I | 250 (114) | Industrial |
| Heavy-duty Industrial | IA | 300(136) | Heavy Industrial |

*EVERY LADDER'S DUTY RATING IS DISPLAYED BY A LABEL AFFIXED TO THE LADDER.

3.2 Inspection

Creighton employees who utilize ladders are required to inspect ladders before using. Maintenance supervisors should perform at least an annual inspection of all ladders.  They should look for loose, broken, or missing rungs, steps, cleats or side rails; missing safety feet, frayed ropes, and other defective parts.  All rungs should be free from oil, grease, or other slippery substances.  Rungs or steps on metal ladders should be skid resistant (through corrugating, knurling, dimpling or coating).  Movable parts must function freely.  Metal bearings should be well oiled.  (See the self-assessment section for a list of ladder requirements.)  Damaged ladders should not be used and, after labeling, should be either repaired or destroyed.  The labels should read "Condemned--Do Not Use."  Documentation of inspection must be maintained within the maintenance function for three (3) years. Copies must be provided to Environmental Health and Safety for reviews.

4. PRECAUTIONS:

The following general safety precautions are recommended:

- Avoid using a ladder if you are excessively tired, on medication, or have been temporarily impaired.

- Place the ladder angle so that the base is at least 1 foot (0.305 meter) out for each 4 feet (1.2 meter) of ladder working length (support point to the base). Example: 12'=3', 20'=5'.

- Place the top of the ladder so that both rails are fully supported. Allow extra room in case of ladder shifting.

- Place the ladder on a substantial and level base, staking or securing the lower end of the ladder, whenever possible. The top support point for portable ladders must be rigid and have adequate strength to support the applied load.

-Place the ladder away from unlocked or unguarded doors that may open toward the ladder.

- Extend the ladder side rails at least 3 feet (0.91 meters) above the support point.

- Always raise extension ladders so that the upper section overlaps and rests on the bottom section. The upper section must always overlap on the climbing side of the extension ladder. Make sure that there is at least a 3 foot (0.91 meters) overlap for extension ladders of 36 feet (11 meters) or more.

- Do not place a metal or metal-reinforced ladder where it may come in contact with electric wiring.

- Never use ladders in a horizontal position.

-Take care when ladders are used on oily, metal, concrete, or slippery surfaces.

- Extend the ladder only while standing on the ground at the ladder base.

- Do not place ladders on boxes, barrels, or other unstable bases to obtain additional height.

- Do not use ladders to gain access to a roof unless the top of the ladder extends at least 3 feet (0.91 meters) above the support point (at roof line).

5. CLIMBING: (GENERAL PRECAUTIONS)

- Face the ladder and use both hands to grip the side rails while ascending or descending.

- Only one person at a time should stand on portable ladders.

- Carry tools on a tool belt. Haul materials up on a line, rather than carrying them.

- Do not exceed the maximum safe height limit (fourth rung from the top on extension ladders; second step from the top on stepladders).

-Wipe off greasy or muddy shoes, as much as possible, before using the ladder.

- Do not overload a ladder.

6. OTHER: - COMMON SENSE LADDER SAFETY LIMITS (NOTE: Please remember that common sense is not common!)

- Be sure that a stepladder is fully open and locked before you use it.

-Do not leave placed ladders unattended. They may be a hazard for others.

- Keep ladders clean and free of grease.

-Use extra caution while climbing during windy weather conditions.

-Never use a defective ladder.

-Do not drop or throw ladders.

-Do not use make-shift ladders.

-Do not splice short ladders together to make long ladders.

-Use portable ladders with reinforced rails, only with the metal reinforcements on the underside.

- Make sure portable ladders have nonslip feet.

-Handle ladders with care. Do not drop or misuse them.

7. REPAIRS:

Field or makeshift repairs on existing ladders or the fabrication of ladders is discouraged. Do not attempt to straighten or use a bent ladder made of metal or reinforced plastic. Ladder repairs must be made only by qualified personnel and must be reviewed by supervisory personnel after repairs are made.

8. COATING:

When necessary, coat metal, wood, and plastic ladders with a suitable protective material. Do not paint wood ladders with opaque coating (e.g., paint) because possible defects may be covered up. Use only transparent coatings or wood preservatives. Metal ladders may need extra protection in cases of excess moisture, salt spray, acidic, or alkaline conditions.

9. STORAGE OF LADDERS:

Store ladders in a manner that provides easy access for inspection and permits safe withdrawal for use. Ladders must not be stored where they present a tripping hazard, nor where they can fall on personnel. When stored horizontally, ladders should be supported at several points to avoid sagging. The ladders should be kept away from sources of heat and moisture and in a well-ventilated area. Aluminum ladders should not be stored in certain atmospheres (e.g., acidic) due to severe corrosion problems. Ultraviolet rays of the sun can cause deterioration in fiber-glass ladders. Wax fiber-glass ladders with paste wax for extended storage and increased life span of use.

10. TRANSPORTATION:

Assistance may be needed in transporting heavy or long ladders. When transported on vehicles, ladders should be adequately supported (preferably on hardwood or rubber-covered pipe) to avoid sagging and should be fastened securely.

11. HAZARDS:

Most ladder mishaps result in falls which are sometimes fatal. Electrical shock can occur if the user is working with electrical equipment while standing on a conductive metal ladder. Portable metal ladders must always have warning labels affixed to the ladder.

Some of the various hazards are summarized below.

| HAZARD | HELPFUL HINT |
| --- | --- |
| Personnel slipping | Remove grease, oil, and mud from shoes. Avoid overreaching. Do not climb past SAFE height. Watch your step. |
| Ladder movement | Secure base and top of ladder. Use nonskid feet. Set the ladder at the proper 4:1 angle. Avoid slippery surfaces. |
| Ladder breakup | Inspect all ladders before using. |
| Electrical shock | Use nonmetal ladders around electricity. |
| Environmental conditions | Use extra caution in climbing on windy days. Avoid climbing during storms. |
| Pinching (Body parts caught between moving parts in closing ladder.) | Use gloves where required. Use caution in closing ladder. |

12. CONCLUSION:

This document is provided to ladder users on the Creighton Campus as a guide and a reminder of safe ladder use and procedures. Safe use of ladders, however, is always the responsibility of the individual users.

Appendix A. Portable Ladders Safety Checklist

This safety checklist has been designed to help Creighton employees and supervisors follow the minimal ladder safety practices. All ladders should meet the standard requirements of OSHA 29 CFR 1910 and 1926. Compliance with the design standards is verified by checking tags or stamps on each ladder.  Relevant references are noted after each question.

| ------------ | Yes/No | Comments |
| --- | --- | --- |
| Do all ladders meet the requirements of 29 CFR 1910.25/26 and/or ANSI A14.5-1974? (Compliance with cited standards can be verified by checking tags or stamps on each ladder.) 29 CFR 1910.25 | _______ | ______________ |
| Are all portable ladders equipped with nonslip bases? AFOSH Std 127-3, para 4 b | ________ | ______________ |
| Are all ladders that are used for electrical work constructed of non-conductive materials? AFOSH Std 127-3, para 4 c | ________ | ______________ |
| Are ladders maintained in good usable condition? 29 CFR 1910.26 (c) (2) (iv) AFOSH Std 127-3, para 4 c | ________ | ______________ |
| Are ladders properly stored when not in use? AFOSH Std 127-3, para 4 d (2) AFOSH Std 127-3, para 4 c | ________ | ______________ |
| Is only one person allowed on a ladder at a time? (Exception: More than one person is allowed on a ladder when jacks with scaffold planking are used in conjunction with ladders capable of supporting 225 pounds (102 kilograms) or more.) 29 CFR 1910.26 (c) (3) (ii)) | ________ | ______________ |
| Is it prohibited to place ladders on boxes, barrels, or surfaces with unstable bases? 29 CFR 1910.25 (d) (2) (v) | ________ | ______________ |
| Are employees instructed on the proper way to ascend/descend ladders? 29 CFR 1910.26 (c) (3) (v) | ________ | ______________ |
| Have ladders been checked for loose steps or rungs, serviceable non-slip bases, and noticeable defects, such as cracks, broken braces, and split rungs? 29 CFR 1910.25 (b) (1) (i) | ________ | ______________ |
| Are the ropes on extension ladders in good condition? 29 CFR 1910.25 (d) (1) (iii) | ________ | ______________ |
| Are all portable metal ladders stenciled with the warning "DANGER DO NOT USE AROUND ELECTRICAL EQUIPMENT" in 2-inch (5 centimeters) red letters or smaller if necessary to fit on the rails? AFOSH Std 127-3, para 4 c | ________ | ______________ |
| Are all ladders kept clean and free of oil or grease to limit conductivity of electric current? AFOSH Std 127-3, para 4 c | ________ | ______________ |
| Are ladders strapped or tied to support racks on vehicles to prevent damage from road shock? AFOSH Std 127-3, para 4 d (3) | ________ | ______________ |
| Is regular lubrication of metal bearings, locks, or pulleys on ladders performed? 29 CFR 1910.25 (d) (1) (ii) | ________ | ______________ |
| Are safety feet and other auxiliary equipment on portable ladders in good condition? 29 CFR 1910.25 (d) (1) (iv) | ________ | ______________ |
| Have users inspected ladders that have been subject to unusual circumstances, such as excessive heat or fires? AFOSH Std, para 4 (d) (9) (b) | ________ | ______________ |
| Have non-skid coatings been applied to metal ladder rungs or steps that are not corrugated, knurled, or dimpled in design? 29 CFR 1910.26 (a) (1) (v) | ________ | ______________ |
| Are the bottoms of non-self-supporting (straight) ladders placed so that the distance from the base of the vertical support is one-fourth the working length of the ladder? 29 CFR 1910.25 (d) (2) (i) | ________ | ______________ |
| Are straight ladders placed so they extend 3 feet (7.5 centimeters) (minimum) above the roof line or other work surface? 29 CFR 1910.25 (d) (2) (xv) | ________ | ______________ |
| Are procedures established to ensure that ladders are not placed in front of doors that open toward the ladders unless the doors are locked, blocked, or otherwise guarded? 29 CFR 1910.25 (d) (2) (iv) | ________ | ______________ |
| Are sections of extension ladders totaling less than 36 feet (11 meters) overlapping by at least 3 feet (9.1 meters)? AFOSH Std 127-3, para d (12) | ________ | ______________ |
| Are workers instructed not to stand above the second step from the top of any self-supporting step ladder? (The top plate or table is not a step, except on those ladders designed with a work platform at the top, such as ware house ladders.) AFOSH Std 127-3, para e (22) | ________ | ______________ |
| Have ladders been checked for loose nails, screws, bolts, or other projecting metal parts? 29 CFR 1910.25 (d) (1) (i) | ________ | ______________ |

Reviewed by:  John Baxter	
Title:  Director, Environmental Health and Safety 
Date:  2/2008