Division 11 – Equipment
Unknown – Life Safety
Lifepak CR Plus Defibrillator Kit

Supplier is Medtronic Emergency Response Systems

11811 Willows Road NE

P.O. Box 97023

Redmond, WA 98073-9723 

www.medtronic-ers.com
www.medtronic.com
Telephone: 800-442-1142

Fax: 800-732-0956

Criteria:

1. Should be centrally located

2. Should be located near a telephone

3. At a minimum should be semi-recessed.  The preference is fully recessed.
