### EMERGENCY PROCEDURES

#### Minor Spills

1.	NOTIFY:  Notify persons in the area that a spill has occurred.

2.	PREVENT THE SPREAD:  Cover the spill with absorbent paper.

3.	CLEAN UP:  Use disposable gloves and remote handling tools. Carefully

fold the absorbent paper and pad.  Insert into a plastic bag and dispose

of in the radioactive waste container.  Also, insert into the plastic bag

all other contaminated materials such as disposable gloves.

- SURVEY:  With low-range, thin-window G-M survey meter, check the

area around the spill, hands, and clothing for contamination.

5.	REPORT:  Report incident to the Radiation Safety Office.

#### Major Spills

1.	CLEAR THE AREA:  Notify all persons not involved in the spill to vacate

the room.

2.	PREVENT THE SPREAD:  Cover the spill with absorbent pads, but

do not attempt to clean it up.  Confine the movement of all personnel

potentially contaminated to prevent the spread.

- SHIELD THE SOURCE:  If possible, the spill should be shielded, but

only if it can be done without further contamination or without significantly

increasing your radiation exposure.

4.	CLOSE THE ROOM:  Leave the room and lock the door(s) to prevent

entry.

5.	CALL FOR HELP:  Notify the Radiation Safety Officer immediately.

6.	PERSONNEL DECONTAMINATION:  Contaminated clothing should

be removed and stored for further evaluation by the Radiation Safety

Office.

RADIATION SAFETY OFFICER:

#### Jayne Samp

OFFICE PHONE:

280-4752

ALTERNATE NAME AND TELEPHONE NUMBER DESIGNATED BY RSO:

Stanley Jaeger Cell Phone 402-669-5318